WB Troubleshooting Form

‧Product Information*

Cat. Number:                                          Lot number:

Product name:                                         Date received:

Storage conditions used:                                Date first used:

Is this your first time using this product?

□ Yes, this is the first time        □  No, this is a re-order of a previously used antibody.

Had this same tube of antibody been used prior to this experiment?

□  Yes, this same tube of antibody had been used ______ times.

□  No, this was a freshly prepared antibody.

Has the experiment been repeated?  □ No   □ Yes (Times: 4   )

Did you obtain the same results?  □ Yes  □ No

Please describe the problem

□High background  □Wrong band size □Multiple bands  □No signal

Details: multiple bands and no or weak target signal

‧Protocol Information

Material details:

Species: Rat (Wistar)      Sample (cell/tissue):  Brain tissue of rat, invlove medial prefrontal

cortex and basolateral amygdala.

Sample treatment:   □Nothing  □Drug

□Transfection (Protein name:__________ With Tag?_________)

□Gene knock down (target name: __________________________)

□Others (please describe: 3 mA footshock treatment_______________)

Lysate preparation:

□Whole cell extraction

□Fractionated extraction___________ (Nucleus, cytosol, etc. Please include data concerning fractionation markers.)

Lysis buffer used:                            Protease/ phosphatase inhibitor:

At what temperature and for how long were the samples stored?

Had the sample been thawed and then refrozen? □Yes   □No

Amount of protein loaded:

Temperature and duration of sample heating:

Reducing agent (2-ME or DTT): □ added □ not added

Electrophoresis / transfer conditions:

□Reducing gel      □Non-reducing gel      Gel percentage:

Type of transfer membrane used: PVDF or NC? Pore size?

Did any of the markers remain on the gel?

□No, all of the markers were transferred to the membrane.

□Yes, I could see the _________KD marker still on the gel.

Confirmation of transfer:□Ponceau S □Coomassie blue □Other________□Not confirmed

Transfer condition (transfer mode, time/voltage):

Blocking conditions:

Blocking substrate/buffer used:

Blocking temperature and time:

Primary antibody:

Dilution(s):                             Dilution Buffer:

Incubation time:                          Temperature:

Secondary antibody:

Please provide either the product’s full name and supplier or the catalogue number for products:

Dilution(s):                           Dilution Buffer:

Incubation time:                        Temperature:

Has the secondary antibody been used successfully with other primary antibodies?

□Yes  □No

□Fluorochrome conjugate   □Enzyme conjugate

Washing conditions:

Washing buffer (detergent %):              Time and frequency:

Visualization system used: (Supplier and detection method: ECL, ECL+, AP…etc.):+

ECL

‧Control Information

Please provide details concerning the positive and/or negative controls that have been used:

Positive control used:

Negative control used:

Other controls used:

‧Data Attachments

(Original data & control data, ex：internal control…another antibody control…other company’s data)

Exposure time : _________________